| Fire Safety Checklist |
| --- |
|  | ITEM | WEEKLY | MONTHLY | QUARTERLY | SIX MONTHLY | ANNUALLY |
| 1 | Test fire alarm |  |  |  |  | Company |
| 2 | Service fire alarm |  |  |  |  | Company |
| 3 | Check emergency lighting | Receiving Power (Light Green) | Turn on and Off |  |  | Company |
| 4 | Check means of escape | Exit Routes Clear |  |  |  | N/A |
| 5 | Check fire extinguishers | In Place & Gauge (Green) |  |  |  | Company |
| 6 | Service fire extinguishers |  |  |  |  | Company |
| 7 | Assessment of Evacuation or Drills |  |  |  | Evacuation 2-3 Minutes | N/A |
| 8 | Inspect fixed electrical system (Hard Wired Tests) |  |  |  |  | Company 5 Yearly |
| 9 | Portable Appliance Testing |  |  |  |  | Company |
| 10 | Gas inspection (Boiler Service) |  |  |  |  | Company |
| 11 | Lightning Conductor Test & Inspection |  |  |  |  | Company 11 Monthly |

Weekly Fire Safety Checklist                                        Weeks 1 to 52

Section 1: Fire Prevention Measures (To reduce the most common causes of fire).

- Are all ignition sources kept away from combustible materials? Yes/No

- Are suitable arrangements in place for the use of candles? Yes/No

- Are all electrical items in good condition? (For example, damaged switches or light fittings, lose or damaged cables etc.) Yes/No

- Is cooking is ever left unattended? Yes/No or N/A

- Are waste materials stored securely or located away from the building so as not to affect it in a fire? Yes/No or N/A

- Are contractors operating safely? Yes/No or N/A

Section 1 Actions if required.

Section 2: Fire Protection Measures (T0 protect people in the event of a fire)

Can people get out in the event of a fire? Yes/No

- Are all escape routes clear? Yes/No

- Can all exit doors be opened without the use of a key? Yes/No

Can people find their way out in the event of a fire? Yes/No

- Are all escape routes clearly marked with fire exit signs? Yes/No or N/A

- Are all fire exits clearly indicated as fire exits? Yes/No or N/A

- Are fire action notices suitably located to tell people what to do in the event of a fire? Yes/No or N/A

- Is emergency lighting receiving power? (lighting indicator green) Yes/No or N/A

- Have all emergency lighting units been tested monthly? Yes/No or N/A

- Are torches in the correct place and working? Yes/No or N/A

Can the alarm be raised in the event of fire? Yes/No

Note: If word of mouth shouting “fire” is not sufficient.

- Are manual break glass operating call points working? Yes/No or N/A

Note: A different call point should be tested on a rotational basis.

- Is the rotary gong, bell or similar device working? Yes/No or N/A

Can people fight the fire if necessary? Yes/No

Note: The priority is for life safety and for all persons to evacuate the building safely.

- Are fire extinguishers and fire blankets in their appropriate locations? Yes/No

- Are fire extinguisher gauges, where fitted, in the green ready to be used? Yes/No

Section 2 Actions if required.

Name (Print)……..……….……………………     Signature………………………………………….   Date………………………